**Requirement Specification haemostatica**

1. **Requirements**

**1.1. Description and definitions**

The requirement specification, cf. section 1.4, describes all the requirements for the acquisition and consists of six columns with the following information:

|  |  |
| --- | --- |
| "#" | ID number |
| "Requirement" | Requirement description |
| "Classification" | The classification of the requirement as further described in section 1.3 |
| "DALO remarks" | Further information regarding the requirement |
| "Requirement compliance" | The tenderer's indication of compliance (YES or NO) |
| "Tender description" | Requirements regarding the tenderer's compliance description  |

**1.2. Classification**

All requirements are mandatory requirements (SHALL) and shall be fulfilled by the tenderer. If just one of the mandatory requirements is not fulfilled, the tenderer's tender will not be taken into further consideration.

**1.3. Requirement and response sheet**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Id.Nr.** | **Requirement** | **Classification** | **DALO remarks** | **To be filled out be the tenderer** |
| **Requirement compliance** | **Tenderer's description** |
| **YES** | **NO** |
| **1** | Tender shall deliver 3000 units | SHALL |  |  |  |  |
| **2** | The product shall be Z-folded | SHALL |  |  |  |  |
| **3** | The product shall have a width of minimum 7,0cm (2,75inch) | SHALL |  |  |  |  |
| **4** | The product shall have a length of minimum 250cm (98,4 Inch) | SHALL |  |  |  |  |
| **5** | The product shall be sterile | SHALL |  |  |  |  |
| **6** | The product shall remain sterile for min. 3 years stored in 0-25°C and 0-50%RH | SHALL |  |  |  |  |
| **7** | The packaging of the product shall be with either tear notches or ribcords. | SHALL | The shall be minimum 2 tearnotches on the package |  |  |  |
| **8** | It shall be possible for the user to open the packaging wearing surgical gloves. | SHALL |  |  |  |  |
| **9** | It shall be possible for the user to open the packaging without use of tools except by use of hand ond/or teeth.  | SHALL |  |  |  |  |
| **10** | It shall be possible for the user to open the packaging within 5 secunds. | SHALL |  |  |  |  |